# Genotyping Overview

Deltagen uses two methods to genotype mice:

The first method uses the polymerase chain reaction (PCR) with target-specific and Neo primers to amplify DNA from the targeted gene. Deltagen uses genotyping via target-specific primers for the vast majority of DeltaBase targets.

The second method uses PCR and Neo primers to “count” the number of Neo genes present per genome. In a small subset of DeltaBase targets, most notably for mutations generated by Gene Trap, genotyping via Neo counting is the preferred method.

# Genotyping via Target-specific Primers ## Schematic of Genotyping Procedures Inheritance of the targeting construct is monitored by three types of PCR genotyping assays. The types of assays used depend on whether the mice are from the F1 or F2 generations. The first type of reaction, a "multiplex" PCR, is designed to simultaneously detect the endogenous and targeted alleles and is used to genotype mice from both the F1 and F2 generations. The second type of reaction is designed to detect only the targeted allele and is only used to genotype mice from the F1 generation. This step ensures that only heterozygous mutant mice proceed to the breeding programs. The third type of reaction is designed to detect only the wild-type (endogenous) allele and is only used to genotype mice from the F2 generation. This quality control step ensures that homozygous mutant mice are accurately and rigorously genotyped. The schematic diagram below depicts the expected results for each reaction type. DeltaBase also includes a figure that shows genotyping results from a representative set of animals for each target gene.

Figure 1. General Genotyping Schematic

### Genotyping Sample Preparation - Tail samples are collected in a 96-well format. - Add 100ul Tail Lysis Buffer to a 10 mm tail sample. - Tail Lysis Buffer (Adjust pH with 1M NaOH to 8.0-8.5) - 10mM Tris, pH 8.3 - 5mM EDTA· 300mM NaAcetate - 1% Triton X-100 - 750ug/ml proteinase K - Incubate overnight at 55°C - Vortex lightly. Store at 4°C until use. Spin down briefly (about 2000-3000) rpm to collect all the liquid at the bottom of the tube. - PCR: For each tail sample, 2 PCR reactions are performed: - F1: multiplex + targeted allele alone - F2: multiplex + endogenous allele alone - DNA tail samples are diluted 1:10 in 10 mM Tris, pH 8.3. - Samples are heated to 95°C for 5 min to destroy the proteinase K. - 2 ul of diluted tail DNA is used for each PCR reaction. ### PCR reaction - 2 ul tail DNA (1-20 ng genomic) - 2 ul 10 x buffer (ABT PCR 10X buffer #4 from Marsh) - 200 uM dNTP - 1.5 mM Yellow-MgCl2 (25mM stock from Marsh) - 0.15 ul Red Hot Taq enzyme from Marsh (5 units/ul) - 250 nM primer - Make to 20 ul with dH2O ### Cycle conditions - 94°C 3 min - 35 cycles of - 94°C 10 sec - 60°C 30 sec - 68°C 1.5 min - 68°C 7 min ### Analysis PCR products are separated on a 1.4% agarose gel for 50 min at 180 V. The multiplex samples are loaded next to the test sample (endogenous or targeted), with molecular weight markers between rows of samples.

# Genotyping via Neo counting In some cases, for example with mutations caused by Gene Trap, it is more efficient to genotype animals by Neo counting than by using the standard reaction with target-specific primers. This approach relies on the selectable maker Neomycin that is introduced into the mutated locus: an animal homozygous for the mutation will carry two copies of the Neomycin sequence per genome, whereas an animal that is heterozygous will carry one copy of the Neomycin sequence per genome, and a wild type animal will have zero copies per genome. This enables Deltagen to genotype mice using the TaqMan® PCR and gene sequence detection system to assay the number of Neomycin sequences per genome. Using a TaqMan-based approach, it is possible to do a single multiplex PCR on mouse tail DNA using two sets of PCR primers. One set of primers is designed to measure the abundance of a sequence and thus provide an accurate DNA concentration standard for the sample. The second set of primers amplifies the Neomycin sequence. The two measurements obtained in the single multiplex reaction are used to calculate the Neomycin copy number per diploid genome. The resulting data can be visualized by plotting the relative Neo/DNA concentration signal (obtained as a Ct value from the TaqMan reaction). Each tail is tested in quadruplet and the average values are used to establish the Neo copy number per genome. Figure 1. The graph shows the result of a typical N1 genotyping. Figure 2. The region showing heterozygotes and homozygous samples has been expanded to show more clearly the difference in signals. Areas in gray are zones where the signal falls outside an acceptable range. Any samples which fall into these zones are scored as Unknown genotype. ## PCR reaction Genotyping sample preparation is the same as for standard Tail PCRs. 4x5ul reactions in 384 well plates 0.2-5ng Tail DNA (denatured) 10X Buffer A (supplied by ABI) 200uM dNTPs 5.5mM MgCl2 10 unit/ml AmpliTaq Gold 300nM Neo primer 34041 (CGTCAGTATCGGCGGAATTC) 300nM Neo primer 34042 (CCCCTGACACCAGACCAACT) 100nM Neo Taqman Probe 35391 (6FAM.CTGAGCGCCGGTCGCTACCATTAC.TAMRA) 300nM DNA standard primer 41369 (TCACTTCCTGTCGCCCTATGT) 300nM DNA standard primer 41372 (GCCAGAGCCCCAGAAGATATG) 100nM DNA standard primer 41370 (VIC.TCTCCAAGAGAGTCTCCTT-MGB) PCR cycle regime (ABI 9700) 95C 10 min 40 cycles 95C 10 sec 60C 10 sec